## Slide 1: New Generation of Oxygenation Systems
Mirko Belliato, MD
Chief of the Advanced Respiratory Intensive Care Unit
U.O.C. Anestesia e Rianimazione 1
Fondazione IRCCS Policlinico San Matteo, Pavia, Italy
Member of EuroELSO Steering Commitee

## Slide 2: Disclosures last 5 yrs:
Advisor, consultant and congress speaker for Hamilton Medical AG, Bonaduz, Swiss
Advisor, consultant and congress speaker for Eurosets srl, Medolla, Italy

## Slide 3: What are the clinical issues nowadays?

## Slide 4: SCAVENGING of PERICARDIAL SUCTION BLOOD

## Slide 5
Significant reduction in LME after fitration and in peak NSE (neuron-specific enolase) using a scavenger system CPB system.

## Slide 6
Renal function was assessed using Cystatin C and serum creatinine concentrations. Using a filtration system significant lower level in LME and cystatin C concentration

## Slide 10
It should remove fat particles in two ways: in the filtering layer, through a mechanism similar to that responsible for the removal of leucocytes, and by the spontaneous separation of lipids, which tend to float in the upper layer of the supernatant, when blood is left to sediment in the reservoir.
How it works an efficient cardiotomy reservoir?

## Slide 11
Extra-cavitary
Intra-cavitary
Lever
to transfer blood
Same as Horizon
800ml
cardiotomy
4,5L
An example of lipid and leucocyte filtration by a new cardiotomy revoir:

## Slide 12: AIR EMBOSLISM DURING CPB

## Slide 13
Micro-emboli counts

## Slide 14
Size of Micro-emboli

## Slide 15: Types of arterial filters
Non-integrated arterial filter

## Slide 16: Types of arterial filters
Integrated arterial filter:
  Inside the oxy- membrane
  After the oxy- membrane

## Slide 18: Oxygenator with Integrated post-membrane filter
Geitnge Quadrox IF
Sorin Inspire 6F M

## Slide 19: Oxygenator with Integrated outside-membrane filter
Terumo Capiox FX25

## Slide 20: Oxygenator with Integrated into-membrane filter
Medtronic Fusion

## Slide 22: Oxygenator with fully integrated membrane filter and steel heater
Stainless Steel H/C assuring that H2O2 does not migrate from water side to blood side

## Slide 23
OXYGENATOR: gases transfer

## Slide 24
OXYGENATOR

## Slide 25: Comparison with similar
 |  | % AIR REDUCTION |  |  | 
 | n | 2,3 LPM | 4,6 LPM | 7,0 LPM | p value
A.L.ONE AF PLUS | 5 | 99,80% | 99,50% | 99,00% | ns
Fusion | 5 | 99,90% | 99,80% | 99,50% | ns
FX25 | 5 | 99,90% | 99,80% | 99,60% | ns
Data are expressed as
mean percentage efficiency of
gross air removal
A.L.ONE AF PLUS
FUSION
FX25

## Slide 26
Phosphorylcholine is the predominant headgroup found in the outer layer of cell membranes.
PC has a natural affinity for water and binds water tightly around itself.
As a result, the outer layer of the cell memebranes does not promote clots formation (thrombosis).
COATING

## Slide 27
Zwaal RFA, et al. Nature, 1977, 268, 358; Hayward JA & Chapman D, Biomaterials, 1984, 5, 135
The PC head group has a high affinity for water.
Devices coated with PC have a permanent water layer on the surface.
The water acts as a barrier to protein and cell adhesion
UNCOATED MATERIAL
PC COATED MATERIAL
Initial contact anchoring spreading
Initial contact no anchoring no binding
NON COATED MATERIAL
COATED MATERIAL
Lewis A.L. (2000) Colloids & Surf B: Biointerfaces 18: 261-275
Foreign surface
COATING

## Slide 28: What I ask to a new oxygenation system, today?
Reduced micro-embolic activity
Optimized priming
High performance gas exchange
Optimized pressure resistance
Blood warming/cooling with no risk of contamination
Advanced and bio-compatible coating of the membrane

## Slide 29: THANKS !!!!
Belliato 2019