## Slide 1
Ignazio Condello, PhD
Anthea Hospital,GVM Care & Research
Bari,Italy
Management algorithms and artificial intelligence systems for cardiopulmonary bypass

## Slide 2
Management algorithms and artificial intelligence systems for cardiopulmonary bypass
Ignazio Condello, PhD
Disclosure: Livanova Consultant
Eurosets Consultant

## Slide 4
BACKGROUND

## Slide 5
BACKGROUND

## Slide 7
PaO2 and PaCO2 Cruise Control
Threshold and Coast examples
PaO2 lower 100 middle 110 upper 120 mmHg (Arterial Line)
PaCO2 lower 40 middle 42 upper 45 mmHg VCO2 (Oxygenator or Others)
Workstation Software
Algorithms
Ventilation Module
Automatic and Continuous Modulation of Air Flow and FiO2 in relation to:
Threshold (in relation to ischemia and reperfusion time or cerebral perfusion et al.)
Pump Flow
External administration of CO2 in Surgical Field (Quantitative Estimation Formula of Real and Relative VCO2 value)
Temperature
Translation and Modulation
Translation, Modulation and Automatization

## Slide 8
VAVD Cruise control
Threshold and Coast examples
VAVD lower -15 middle -30 upper -40 mmHg (on Venous Reservoir)
Workstation Software
Algorithms
Ventilation Module
Automatic and Continuous Modulation of VAVD in relation to:
Threshold
Venous return escursion (Volume Monitoring)
Flow variations
Pumps and aspirators
Translation, Modulation and Automatization

## Slide 13
Training and Clinical Pratice

## Slide 16
Training and Clinical Pratice

## Slide 18
Training and Clinical Pratice

## Slide 19
Training and Clinical Pratice

## Slide 20
Training and Clinical Pratice

## Slide 21
Training and Clinical Pratice

## Slide 22
Conclusions
The advantage of AI applied to metabolic management during extracorporeal circulation resides in the possibility of integrating the calculated and highly variable
metabolic parameters into the monitoring systems. This management system remains flexible to the changes in internal data management parameters that can be expanded and modified by the staff, thus customizing the type of conduct based on the experience of the center. Goal directed perfusion has improved metabolic management resulting in a lower incidence of acute renal failure. However, there have not been systems with algorithms for the identification of the optimal way to resolve metabolic problems. Different management algorithms for extracorporeal procedures interfaced with metabolic monitoring systems already
exist on the market and are applied in clinical practice. These algorithms could provide guidance for selecting the best metabolic strategy with the aim at reducing
human error and orienting young operators toward optimized management.

## Slide 23
Ignazio Condello, PhD
Anthea Hospital,GVM Care & Research
Bari,Italy
THANK YOU